## Slide 1
Simulation of Low Temperature, Weakly Ionized Plasmas with Applications to the Electric Power Industry
A. Villa, B. Crippa, A. Scotti, G. Buccella, D. Fasani
23/12/2025

## Slide 2
RSE
RSE S.p.A. (Ricerca sul Sistema Energetico) is a company within the GSE Group, controlled by the Ministry of Economy and Finance. It provides support to the Ministry of the Environment and Energy Security (MASE) and to the Regulatory Authority for Energy, Networks and Environment (ARERA).
RSE finances its research programs through:
the research system fund (Rds)
EU projects
contracts with third parties (institutions, companies, … )
RSE has five departments:
EUT - efficient use of energy for end uses and the territory
SFE - sustainable development and energy sources
SSE - development of energy systems
TGM - generation technologies and materials
TTD - transmission and distribution technologies

## Slide 3
Plasma-related research fields
Cold – Weakly Ionized
Inertial fusion
RSE has developed models for the simulation of the initiation and propagation of electrical discharges, with applications to the power system for predicting the onset of the corona effect and the ageing of insulating polymer materials.
RSE participates in research on inertial confinement fusion, contributing in several areas such as:
neutronic design
analysis of new materials
reaction chamber design
plasma and plasma - laser interaction
RSE has several research agreements with other partners such as ENEA and CNR-INO (a joint Ph.D. project has been funded).

## Slide 4
Blackout
Why a blackout takes place:
Big events, like Spain (April, 2025)
Small localized events -> insulation fault
What are the causes:
Space Charge accumulation (DC)
Partial Discharges (AC)

## Slide 5
Partial discharges
Internal, gas-filled, defect;
High electric field;
Partial Discharges (1-1000) for each period
Propagation of the defect (Treeing)
Carbonization of the branches

## Slide 6
Aim of the research
PDs measurement devices:
Amperometers
Antenna
Microphones
Problems:
correlation between defects and signals
plan maintenance
Targets:
predict correlation defect/signals
evaluate evolution of the defect
Predict propagation rate
Model
Predict instrument signals

## Slide 7
Gas
Groups:
Electrons
Negative ions
Positive ions
Neutral particles

## Slide 8
Gas-Solid Interface
Charge transfer:
Electron trapping
Ion neutralization
Schottky emission
Secondary electron emission
Mass transfer:
Adsorption
Abstraction
Sputtering
Dissociative electron attachment
Localized breakdown

## Slide 9
Electric field

## Slide 10
Multiscale-Gas
Physical parameters:
Electronic mobility
Electronic diffusion
Ionic mobility
Chemical reactions:
Attachment
Vibration excitation
Electronic excitation
Dissociation
Ionization
Quenching
Charge transfer
Recombination
Neutral reactions

## Slide 11
Multiscale-Surface
Fermi en.
Energy
VB
CB
PE + C=O
Other defects
Vacuum en.
Pristine PE
0.97 eV
Schottky emission:
Evaluation of the work function
Experimental evidences W=1.3 eV
DFT -> chemical defects, surplus charge (1 electron every 10^5 sites)
e

## Slide 12
Multiscale-Surface
Secondary electron emission:
Auger neutralization
Experimental evidence 0.01
Theoretical estimations are uncertain
e-
Impinging species’ current
Secondary electrons’ current

## Slide 13
Multiscale-Surface
HΨ=EΨ
Born-Oppenheimer Molecular Dynamics (BOMD)
F=ma

## Slide 14
Multiscale-Surface
Electric field (Impact energy)
Sputtering
Possible chemical reactions

## Slide 15
Multiscale-Surface

## Slide 16
Validation-Void
2 mm insulating layer
1 mm sphere
R = 100 ohm
V = 4.41 kV (AC)
A PDE-based partial discharge simulator – A. Villa, L. Barbieri, M. Gondola, A.R. Leon-Garzon, R.Malgesini – JCP 345, 687-705

## Slide 17
Treeing
1.2 ms
Point-Needle configuration
Gap 2 mm
10 kV r.m.s
Geometry obtained with a CAT scanner
Treeing inception phase

## Slide 18
Treeing

## Slide 19
Andrea.villa@rse-web.it
Andrea Barbareschi Villa