Hydrogen retention comparison between LIBS and LIDQMS

LIBS look into “second order” hydrogen band Littrow

LIBS shorter delay shots could give number of particle in ground state using calibration free method

- Provide total number of atoms in plasma

- Salvatore evaluate number atoms per laser shot

LIDQMS plot DT/HDT as an intermediate comparison (Anna) but ultimate aim is quantified data

LIBS total DT/HDT ratio (Rongxing)

Further efforts to focus on particular pulses (LIDQMS 855/856)/shots (LIBS 63)

Jari – send out atomic density data from IBA for HFGC tile

LIBS quantification

Consider calibration sample for VTT experiment

- There are “IAP samples” available

- Other samples that have IBA?

- Delay times with Littrow and Arielle will be investigated (as per JET experiment and shorter)

LIBS establish set of lines for analysis (currently not unified)

Include Avantes line for carbon at “900nm and something”

Calibration free analysis

Hydrogen concentration calculation – point 63

- 16 January LIBS meeting online

- Salvatore to show how data was treated

Profilometery will be needed for ablation rate

LIDQMS quantification

Gennady

- gas puffs for pulse he showed at the meeting

- penning gauge analysis continued….

  - H or D calibration for pennings in towers – some ambiguity of hydrogen isotope calibration

- RGA11 vs other RGAs? What pumping fraction is needed for RGA11?

- Other RGAs pumping fraction in 94%

Gas injection  comparison of calibration methods

- Gennady and Gabriele to work on alternative calibration method

- 25/9 start with this (others to consider later 4/10 and 28/10 (?)

- Check pulses and data on those data (Anna/Ionut to circulate pulse numbers)

- Need to treat the data in same way as calibration

- Comparison with jump method (Laura/Anna)

Conference and publications

Likonen – VTT LIBS experiment – PSI

Jepu – RE damage on inner limiters – LIBS pulses required – PSI

Indrek – LIBS IWGL (Poloidal 2X3 and 2X9, 2X17) pulse supporting information on exposure – potentially TDS results – PSI

Gennady – Calibration procedure for LIBS – PSI

Anna – comparison of LID-QMS fuel retention with predictions – Hydrogen workshop

Laura – quantification of LID-QMS using ump method - Include 94%– publication & Hydrogen workshop

Lidia/Salvatore – depth profiling of HFGC & Tile1using LIBS – PSI

Pavel – Inner divertor calibration free analysis using LIBS – PSI

Pavel – Averaging and selection on spectrscopic lines for LIBS analysis (Methodology) – EMSLIBS

Miro – ex-situ LID-QMS on W-lammellae - PSI

Successes

Analysis of pumping from Gennady brings LIDQMS closer to a quantified value

Similar trends in fuel retention across tiles

Quantification of LIBS using calibration free method

First absolute HI value in similar order of magnitude to LIDQMS

Machine learning algorithm progressed for HI

LIBS depth profiling of each group is converging