## Slide 1
Beyond Absorption: New Detector Concepts for Spectral, Phase-Contrast, and Time-Resolved X-ray Imaging
Ralf Hendrik Menk
Elettra Sincrotrone Trieste, INFN Trieste, Uni Trieste,
Midsweden Universiy
Notes: Slide 2: Title of the Presentation
Before you start editing the slides of your talk change to the Master Slide view:
Microsoft Office :Menu: View > Slide Master;
Macintosh – View > Master > Slide Master
Edit the following items:
On the Slide Master (first master slide) – lower area
a) On the left Delete the text and write the title of the event/Conference, Location
b) On the right delete the text and write the name and surname of the speaker and the date (day, month , year)
Close Master View
To start adding slides insert a new slide and select a Layout:
For Title & Subtitle
For text with bullet points
For Text
For Picture, graphs, visuals
Two columns
Blank

## Slide 2: X-rays in matter
= incoming plane wave at energy E
= object-modulated wave at energy E
= wave number
Attenuation
Phase shift
In the wave model the interaction of X-rays with matter is described through the complex refractive index n
attenuation
coefficient
Phase-contrast imaging
Spectral imaging
Ultimate goal: to reconstruct n(x,y,z,E) from and

## Slide 3: X-rays in matter
Energy dependence of the attenuation coefficient is sensitive to chemical composition (i.e., difference in atomic number Z)
Spectral Imaging
Phase contrast imaging
For light materials (e.g. soft tissues) and energies of radiological interest (10 – 100 keV) phase effects are much larger than attenuation
to separate and quantify chemical elements
to increase visibility of soft tissues!

## Slide 4: Combining Spectral and phase contrast imaging at synchrotrons
Spectral K–edge imaging
25
10
5
2.5
1
0.5
0
Iodine
Water
Detector pixels
Illumination Curve without sample
absorbing mask
Illumination Curve with sample
dithering
Differential phase contrast imaging via beam tracking
Zhu Y. et al., Phys Med Biol, 59.10, 2485 (2014)
Vittoria F.A. et al., Scientific Reports 5, 16318 (2015)
Fixed radius frames
Radius = 0.5 m Focus ~ 0.25 m
Co-registration in space and time, in a single acquisition procedure, X-ray spectral K-edge and phase contrast measurements of planar images or CT, in order to separate phase and attenuation properties of different materials

## Slide 5: Methodology and setup
Energy-dispersed beam
Energy dispersion a R
Focal length = R/2
The beam is shaped into an array of vertical beamlets
Cylindrically bent Si crystal
Photon Energy (E)
scattering
refraction
absorption
Horizontal Position (x)
The absorbing mask forms vertical beamlets
Each beamlet is dispersed energetically in space, creating images whose vertical dimension is energy
For each energy the beam tracking reconstruction algorithm is applied and absorption, refraction and scattering images can be extracted
From the absorption images spectral decomposition is obtained and from the refraction the phase image is retrieved
Line focus
Zhu Y. et al., Physics in Medicine & Biology, 59.10, 2485 (2014)
Bassey B. et al., Physics in Medicine & Biology,61, 8180 (2016)
The crystal has an asymmetry angle chosen to match polychromatic and geometrical focus (“magic condition”) optimizing energy resolution
detector
crystal
mask
beam
materials
energy channels
Inversion performed through least-squares

## Slide 6
Multi material tomographic reconstruction

## Slide 8: ,
Parameters: 1480 proj over 360 deg, 250 ms exp time/proj, focus-crystal 24.5 cm, sample-detector 68.5cm, mask 10um aperture, 70um pitch, 7 dithering steps
attenuation above k-edge
attenuation below k-edge
scattering image
phase image
First experimental results: human thyroid sample
Post-processed images of a paraffin-embedded human thyroid sample with nodular neoplastic follicular carcinoma
Tomographic slice acquired at the iodine k-edge with Si (1-10) bent crystal and absorbing mask with 10mm aperture
tissue image
iodine image
Nodular neoplastic follicular carcinoma with well-defined margins not containing iodine.
Around the lesion appears the thyroid parenchyma, with distribution in follicles, the areas where thyroglobulin accumulates containing iodine. This is confirmed in the iodine image.
distinctions in iodine concentration between healthy and unhealthy thyroid tissues
attenuation above k-edge
attenuation below k-edge
scattering image
phase image

## Slide 9
Translation to the lab 1)

## Slide 10
Translation to the lab 2) liquid metal jet x-ray tube
CITIUS / RIKEN

## Slide 11
Translation to the lab 2) liquid metal jet x-ray tube
Spectral decomposed CT
(blue Ag, green KBr Gray polyethylene)
Conventional CT

## Slide 12
Our X-ray absorption imaging experiments are governed by Poisson noise
This is sampled by the detector with a certain SNRD2
or
Why is the detective quantum efficiency (DQE/ QE ) important?
Absorption/ Spectral imaging

## Slide 13
Absorption/ Spectral imaging
Why is the detective quantum efficiency (DQE) important?
D = entrance dose
For absorption imaging
  w = detail size, L, µ and = length, attenuation coefficient and density of embedding matrix, C = object contrast, = photon energy
For scattering
  total surface area of the scatterers, w = 1/h with h being the scattering vector given by
1 – DQE (1-QE) is the feature destroying fraction of photons that does not contribute to increase the SNR in your measurement

## Slide 14
New developments (next 4 years)
Hybrid pixel detectors have tremendously improved data quality over the past ~ 2 decades….
…. and will continue to do so over the next two decades.
We need charge amplification in the sensor
We need stable high Z materials
Will allow spectral and hyperspectral imaging over the entire energy range provided by the LEAPS facilities ( League of European Accelerator based Sources )
LGAD
CdZTe/CdTe
750 µm Si

## Slide 15
Can have some 10th ps time resolution

## Slide 16
From the LEAPS roadmap
Parameter | Near-future wishlist | More ambitious target | Note
Continuous full-frame rate | ≥10–100 kHz | 0.1–1 MHz continuous | 4th generation Synchrotrons
Burst frame rate | ≥1 MHz | several MHz, ~4.5 MHz+ | XFELs
Read noise | <50 e⁻ ENC | <10–20 e⁻ ENC | access carbon edge 300 eV
Low-energy single-photon sensitivity | ~1 keV | 250–500 eV | access carbon edge 300 eV
Dynamic range | ≥10⁴ photons/pixel/frame | 10⁵ or more | CDI, Rice, ptychography
Pixel size | 50–100 µm | ~20–50 µm | where spatial resolution matters
Count-rate capability, SPC | >10 MHz/pixel | ~20–100 MHz/pixel | 
Area | multi-Mpixel | large, modular, gapless / 4-side buttable | Through vias
Dead time | Very low | effectively zero | 
Energy range | Si range | ~250 eV to >100 keV via sensor choice | 
Timing | µs–ns depending application | bunch-resolved / potentially sub-ns event timing | 
Readout | full frames | full-frame + ROI + sparse/event-driven + on-chip processing | 

## Slide 17
Objective | First material/approach to investigate | Decisive measurement
Fast synchrotron imaging | CdS/CdSe/CdS quantum shells | Light output and afterglow under the actual bunch structure
High-resolution imaging screens | Quantum shells, perovskite nanocrystals, confined-screen geometries | MTF and DQE at matched absorbed dose
Ultrafast timing research | CdSe nanoplatelets; coupled perovskite-dot superlattices | Detected prompt photons per absorbed X-ray
Low-voltage beam monitoring | PbS quantum-dot films | Linearity, drift, response/recovery and flux dependence
Direct-conversion imaging R&D | Layered/quasi-2D perovskites | Transport anisotropy, polarization and array uniformity
High-resolution X-ray spectroscopy | TES microcalorimeters | Energy resolution versus usable count rate
From the DRD5 (Quantum materials)

## Slide 18
Giuliana Tromba (Elettra Sincrotrone Trieste
Diego Dreossi (Elettra Sincrotrone Trieste)
Nicola Sodini (Elettra Sincrotrone Trieste)
Deborah Bonazza (Surgical Pathology Unit, Trieste Hospital, Italy)
Alessia Cedola (CNR-NANOTEC Rome, Italy)
Dean Chapman (University of Saskatchewan and Canadian Light Source)
Nazanin Samadi (DESY, Germany)
Alessandro Olivo (University College of London, UK)
Laura Bandiera (University Ferrara and INFN, Italy)
Andrea Mazzolari (University Ferrara and INFN, Italy)
Gianfranco Paterno’ (INFN Ferrara, Italy)
Paolo Cardarelli (INFN Ferrara, Italy)t
This work was supported by the Italian National Institute for Nuclear Physics (INFN), National Scientific Commission 5 for Technological and Inter-disciplinary Research in the frame of the SPHERE-X project, and EU Grant Agreement No. 101262866 (LEAPS-Tech)
Acknowledgment

## Slide 19
Notes: Last Slide 1: Thanks to the audience

## Slide 20
Hyperspectral THz imaging
Noise Equivalent Power =
Notes: Slide 2: Title of the Presentation
Before you start editing the slides of your talk change to the Master Slide view:
Microsoft Office :Menu: View > Slide Master;
Macintosh – View > Master > Slide Master
Edit the following items:
On the Slide Master (first master slide) – lower area
a) On the left Delete the text and write the title of the event/Conference, Location
b) On the right delete the text and write the name and surname of the speaker and the date (day, month , year)
Close Master View
To start adding slides insert a new slide and select a Layout:
For Title & Subtitle
For text with bullet points
For Text
For Picture, graphs, visuals
Two columns
Blank

## Slide 21
Ca Image
phase Image
First experimental results: cartilage and osteoarticular tissues imaging
iodinated cationic contrast agents selectively bind to healthy cartilage structure
Samples from IRCCS Rizzoli Orthopedic Institute in Bologna
Diagnostics 2022, 12, 2111. https://doi.org/10.3390/diagnostics12092111
Iodine Image
Bovine femoral cartilage sample after immersion in iodinated cationic contrast agent (CA4+). Contrast enhancement after 24 of diffusion reflecting the spatial distribution of the proteoglycans
Iodine concentration
Superficial zone
deep zone
Calcified cartilage
Subchondral bone
tidemark

## Slide 22
Bent crystal
CdTe hybrid pixel detector
High resolution sCMOS detector
Absorbing mask
Sample
e)
XSI branch
XPCI branch
Hyperspectral
Notes: Slide 2: Title of the Presentation
Before you start editing the slides of your talk change to the Master Slide view:
Microsoft Office :Menu: View > Slide Master;
Macintosh – View > Master > Slide Master
Edit the following items:
On the Slide Master (first master slide) – lower area
a) On the left Delete the text and write the title of the event/Conference, Location
b) On the right delete the text and write the name and surname of the speaker and the date (day, month , year)
Close Master View
To start adding slides insert a new slide and select a Layout:
For Title & Subtitle
For text with bullet points
For Text
For Picture, graphs, visuals
Two columns
Blank

## Slide 23
XPCI branch
3 mm
a)
1.6
1.2
0.8
0.6
0.4
0
10
8
6
4
2
1
3 mm
3 mm
1.0
0.8
0.6
0.4
0.2
0
3mm
30
20
10
0
µrad2
CaSO4 Image
Ag Image
Water Image
Scatter Image
phase Image
Notes: Slide 2: Title of the Presentation
Before you start editing the slides of your talk change to the Master Slide view:
Microsoft Office :Menu: View > Slide Master;
Macintosh – View > Master > Slide Master
Edit the following items:
On the Slide Master (first master slide) – lower area
a) On the left Delete the text and write the title of the event/Conference, Location
b) On the right delete the text and write the name and surname of the speaker and the date (day, month , year)
Close Master View
To start adding slides insert a new slide and select a Layout:
For Title & Subtitle
For text with bullet points
For Text
For Picture, graphs, visuals
Two columns
Blank

## Slide 24
Phase low + high
2mm
2mm
g/ml
mg/ml
g/ml
mg/ml
Iodine
Calcium
2mm

## Slide 25
Why are we doing, what we are doing?
For the ease of the discussion let’s consider only direct conversion detectors and among them counting detectors (hybrid pixel detectors but also Silicon drift chambers) and integrating detectors (sCMOS, CCDs, …) possessing a quantum efficiency QE
For paralyzed counting detectors with deadtime
For integrating detectors with an electronics noise equivalent of

## Slide 26
Zero spatial frequency DQE

## Slide 27
Spatial frequency DQE
For pixelated detectors with a pixel size w the DQE becomes also dependent from the spatial resolution PSF(x) in terms of spatial frequencies u [LP/mm] . In the best case
Even for high QE detectors the DQE can varnish when the pixel size (or photon flux) is not matched accordingly.

## Slide 28
Multiplication as DQE shifter
For given electronics noise internal gain works as a DQE shifter towards lower photon fluences.
This works for gases [Menk et. Al. ﻿Nuclear Instruments and Methods in Physics Research A 440 (2000) 181-190 ], photomultiplier, MCPs and Si [LGADs] since the excess noise factor < multiplication / gain factor.
Higher multiplication factors