Digital Pulse-Processing Electronics for Fusion Diagnostics: Performance and Perspectives across Neutron and Plasma Detectors

Matteo Bianchini*, Carlo Tintori, Yuri Venturini, M. Venaruzzo

CAEN SpA, Via Vetraia 11, 55049 Viareggio (LU), Italy

*Corresponding author: m.bianchini@caen.it

Diamond detectors are increasingly adopted for fast-neutron measurements owing to their excellent timing, radiation hardness, and low noise. In a campaign at the ISIS spallation source, a single-crystal diamond detector was coupled to a fully digital acquisition chain based on a CAEN DT5751 digitizer (10-bit, 1 GS/s), recording waveforms synchronized to the accelerator trigger for time-of-flight (ToF) analysis [1].

Combining ToF and pulse-integral information, the biparametric ToF–energy spectra resolved the distinct neutron interaction channels on carbon and the dual-bunch time structure of the beam, while discriminating prompt γ-ray flashes — all without analog shaping or external timing modules. A compact, fully digital front-end can thus characterize fast-neutron beams with high accuracy.

This approach is enabled by the CAEN Digitizer 2.0 platform, whose open FPGA architecture runs real-time digital pulse-processing algorithms (timing, charge integration, pulse-shape discrimination) on board, with high channel density and on-board waveform memory. The family spans the x2740/x2745 (64-channel, 16-bit, 125 MS/s), the x2730 (32-channel, 14-bit, 500 MS/s), and the x2751 (16-channel, 14-bit, 1 GS/s), from high-density acquisition to the nanosecond sampling required for ToF.

The same platform already underpins plasma diagnostics in fusion devices. In the Materials Plasma Exposure eXperiment (MPEX), a linear plasma–material interaction device, the VX2745B handles high-density multichannel acquisition [2]. In the VEST spherical tokamak, the V2740 digitizes the soft X-ray (SXR) diagnostic — two 20-channel AXUV photodiode arrays — whose signals reconstruct the magnetic-island structure and m-mode numbers of resistive MHD instabilities [3], with waveform processing tailored to the detector as for the diamond data.

A single digital front-end thus serves both neutron and plasma fusion diagnostics, enabled by the flexibility of the platform and by the ability to run timing and energy analysis directly on the FPGA.

[1] M. Rebai, L. Giacomelli, C. Andreani et al. (2012) Diamond detectors for fast neutron measurements at pulsed spallation sources. JINST, 7, C05015.

[2] J. Rapp, C. Lau, T.M. Biewer et al. (2023) Physical and technical basis of the Materials Plasma Exposure eXperiment from modeling and Proto-MPEX results. Nucl. Fusion, 63. doi:10.1088/1741-4326/acc2d1.

[3] S. Lim (2024) Development of Soft X-ray Diagnostic System for MHD Instability Measurement in VEST. Ph.D. thesis, Seoul National University (Q-BEAM Solution).